# APPLICATION FOR PRODUCT APPROVAL

# PLASTIC LEACH DRAIN SEGMENTS

Please attach this application form to your submission and post to:

The Manager

Water Unit

Environmental Health Directorate

Department of Health

PO Box 8172

Perth Business Centre WA 6849

APPLICATION DETAILS

NAME OF LEACH DRAIN SYSTEM FOR APPROVAL: 

_______________________________________________________________________________________

DESCRIPTION OF SYSTEM:

_______________________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

APPLICANT DETAILS

Applicant Name: ___________________________________Contact: _____________________________

Address: _______________________________________________________________________________

_______________________________________________________________________________________

Phone: ___________________________________________ Fax: _________________________________

Email: ___________________________________________ Mob No.: _____________________________

MANUFACTURER'S DETAILS

(if different from the applicant)

Applicant Name: ___________________________________Contact: _____________________________

Address: _______________________________________________________________________________

_______________________________________________________________________________________

Phone: ___________________________________________ Fax: _________________________________

Email: ___________________________________________ Mob No.: _____________________________

DISTRIBUTOR'S DETAILS

(if different from the applicant and/or manufacturer)

Applicant Name: ___________________________________Contact: _____________________________

Address: _______________________________________________________________________________

_______________________________________________________________________________________

Phone: ___________________________________________ Fax: _________________________________

Email: ___________________________________________ Mob No.: _____________________________

APPLICATION REQUIREMENTS

IMPORTANT: PLEASE ATTACH THE FOLLOWING INFORMATION:

- Your application must demonstrate that your product complies fully with clause 1-12 of the Department of Health (DOH) “Guidelines for Plastic Leach Drain Segments”.  To assist you, a check list has been attached which must be completed and returned with your application

- Please note that where a product does not comply with a particular requirement of the Guideline, the deviation must be acknowledged and addressed.

- Engineering report and/or calculations for the structural soundness of the leach drain showing the drain is able to support a minimum load of 7kPa and can maintain structural integrity under all conditions of installation and use.

- Two (2) sets of scaled engineering drawing(s), preferably A3 size (min. A4), to include both plan-views and cross-sectional views of the leach drain as a whole and for each of its components.

- The above drawings should include all dimensions and details such as internal width, effective depth, entry point of effluent, location of inspection openings, sole plates, end plates etc.

- Specifications and sample of any geotextile material used with the leach drain.

- A set of installation instructions detailing site installation requirements and drain assembly instructions (if required).

Please fill in the following declaration after reading the "Application Requirements" section above.

DECLARATION BY APPLICANT / MANUFACTURER

I supply the following details with my application (Tick as included);

- Completed Plastic Leach Drain Segments Check list.

- Engineering report/testing report on structural integrity/minimum load bearing capacity of leach drain.

- Specification/sample of Geotextile material used with leach drain segment.

- Two (2) sets of scaled minimum of A4 size engineering drawings of leach drain.

- Leach drain assembly instructions.

- Leach drain site installation instructions/guidelines.

- Additional Information (where available).

I understand that the DOH may require further details if necessary, and that failure to supply all the details referred to in this application form and any additional information requested by the DOH concerning my application above may result in delays in processing the application.

NAME: _________________________________________________________________________________

COMPANY: _____________________________________________________________________________

ADDRESS: ______________________________________________________________________________

_______________________________________________________________________________________

SIGNATURE: _________________________________________________ DATE: _____________________

## More Information:

Water Unit
Environmental Health Directorate
Department of Health
PO Box 8172
PERTH BUSINESS CENTRE WA 6849

Telephone: 08 9388 4999
Facsimile: 08 9388 4910

Printed on: 19 May 2016

\\Wsep218fs6\hpg_sect$\EHD\Waste\Publications\Section\Factsheets\Product Approval\Plastic Leach Drain Application Package\Application for Product Approval - Plastic Leach Drains.doc

Produced by Environmental Health Directorate
© Department of Health, Western Australia 2016

# GUIDELINES FOR

# PLASTIC LEACH DRAIN SEGMENTS

- Open surface area for the efficient disposal of effluent from the leach drain walls shall be a minimum of 10% of the surface area below the invert level of the inlet pipe.

- A standard leach drain as defined by regulation 49(2) of the Health (Treatment of Sewage and Disposal of Effluent and Liquid Waste) Regulations 1974 has an effective depth and internal width of a minimum of 400 mm and a maximum of 610 mm and an infiltrative area of 1.6m2 per metre of length.  Drains constructed of segments with a smaller infiltrative area shall be required to be of greater length than specified in regulation 49(2).

- Segments must be able to support a minimum load of 7kPa and it must be demonstrated that segments will be able to maintain their structural integrity under all conditions of intended installation and use.

- Angle of seepage holes to be positioned as to effectively exclude entry of backfill around sides of drain segments.  Alternatively, drain segments must be surrounded to a level above the seepage holes by a 300 mm thickness of durable aggregate which meets the grading requirements specified in Australian Standard 2758.1 (Aggregate and Rock for Engineering Purposes) for single size course aggregate for nominal sizes from 20 mm to 40 mm;  or drain segments must be wrapped in a geotextile material which complies with the specifications set out hereunder:

- Have a flow rate of not less than 110 L/m2/sec.

- Have a C.B.R. (California Bearing Ratio) burst strength of not less than 1500 Newtons.

- Have a Wide Strip Tensile Strength of not less than 7.5/7.5 kN/m.

- Sole plates (100 mm x 50 mm) to be incorporated to bottom of drains to prevent subsidence.  Where sole plates are not present, it must be demonstrated that drains will resist subsidence under all conditions of intended installation and use.

- Joints between segments should be rebated, or other means used to prevent ingress of backfill.

- Plastic material must be durable and able to maintain its integrity under all conditions of intended installation and use.  This can be demonstrated by the provision of appropriate materials data sheets quoting the plastic’s physical and chemical properties.

- Each segment shall be branded with the manufacturers registered brand name.

- End Covers constructed to the same standard as the segments shall be provided to the end parts of each installation.

- Each length of leach drain must be provided with two inspection openings 150 mm in diameter  (one at the start and one at the end of the length of drain).

- A splash plate shall be placed in the drain bed below the inlet pipe to prevent scouring of the bed.

- A set of installation instructions must be provided (including illustrations) which clearly show how to install the leach drains.  The instructions should include detail of drain assembly (if required) and site installation.